## Table 1
PRICE SHEET
| No | GROUP | Iterm Name | Units | Qty | Cost per unit (US$) | Total Amount (US$)
| 1 | MAIN EQUIPMENT | SOLAR PV MODULES AS JINKO 590Wp | PCS | 126
| 2 |  | SOLAR WATER PUMPING CONTROLLER ENCLOSURE,DUST-COATED,LOCKABLE | PCS | 3
| 3 |  | SOLAR WATER PUMPING CONTROLLER AS INVT 22Kw -GD100-022G-4-PV | PCS | 3
| 4 |  | SOLAR SUBMERSIBLE WATER PUMP AS VARUNA 6VP 18-27 15m3/HR & MAX HEAD OF 247M | PCS | 3
| 5 |  | MOTOR FILTER (IF CABLE LENGTHS EXCEED 250M) | PCS | 3
| 6 |  | 6'' 15KW 415V 3PHASE 4-WIRE SUBMERSIBLE MOTOR | PCS | 3
| 7 |  | 15KW 3-PHASE 4 WIRE ELECTRICAL PANEL C/W MANUAL CHANGEOVER SWITCH (ALLOW PUMPING AT NIGHT OR DURING BAD WEATHER USING GENERATOR) | PCS | 3
| 8 | DC PROTECTION | LORENTZ PV DISCONNECT SWITCH 1000-5 | PCS | 3
| 9 |  | PV SURGE PROTECTOR | PCS | 3
| 10 |  | LIGHTNING ARRESTOR | PCS | 3
| 11 |  | 10MM2 EARTH CABLE GREEN & YELLOW-LIGHTNING SYSTEM | M | 45
| 12 |  | EARTH ROD-LIGHTNING SYSTEM | PCS | 3
| 13 |  | 10MM2 EARTH CABLE GREEN & YELLOW-EARTHING SYSTEM | M | 45
| 14 |  | EARTH ROD-EARTHING SYSTEM | PCS | 3
| 15 | MOUNTING STRUCTURE | CEMENT BAGS-50KG | BAGS | 45
| 16 |  | RIVER SAND | TONS | 6
| 17 |  | WATER | LITRES | 9000
| 18 |  | BALLAST | TONS | 6
| 19 |  | STEEL TUBES-SHS 50*50*3MM (COMES IN 6M LENGTHS) | PCS | 60
| 20 |  | STEEL TUBES-SHS 40*40*3MM (COMES IN 6M LENGTHS) | PCS | 90
| 21 |  | STEEL FLAT BARS-50*3MM (COMES IN 6M LENGTHS) | PCS | 90
| 22 |  | WELDING RODS-3.2MM | PKT | 3
| 23 |  | GRINDING DISK | PCS | 18
| 24 |  | CUTTING DISK | PCS | 30
| 25 |  | WELDING GENERATOR(CONTRACTOR TO AVAIL) | SUM | 3
| 26 |  | GRINDING MACHINE (CONTRACTOR TO AVAIL) | SUM | 3
| 27 |  | DIGGING HAND TOOLS (CONTRACTOR TO AVAIL) | SUM | 3
| 28 |  | GREY PRIMER-4L CONTAINER | PCS | 6
| 29 |  | 3'' PAINT BRUSHES | PCS | 12
| 30 |  | WHITE SPIRIT-4L CONTAINER | PCS | 6
| 31 |  | TOOL BOX (CONTRACTOR TO AVAIL) | SUM | 3
| 32 | ELECTRICALS | SOLAR PV CABLES RED-6MM2 | M | 150
| 33 |  | SOLAR PV CABLES BLACK-6MM2 | M | 150
| 34 |  | MC4 CONNECTORS-MALE | PCS | 30
| 35 |  | MC4 CONNECTORS-FEMALE | PCS | 30
| 36 |  | 25MM PVC CONDUIT | PCS | 30
| 37 |  | 4 CORE 16MM2 ARMORED CABLE | M | 60
| 38 |  | 2 CORE 1.5MM2 ARMORED CABLE | M | 60
| 39 |  | 4 CORE 16MM2 SUBMERSIBLE CABLE | M | 787.5
| 40 |  | 0.75MM2 LONDEX CABLE BLACK | M | 787.5
| 41 |  | 0.75MM2 LONDEX CABLE BROWN | M | 787.5
| 42 |  | JUNCTION BOX | PCS | 3
| 43 |  | WELL PROBE SENSOR | PCS | 3
| 44 |  | CABLE SLICING KIT | PCS | 3
| 45 | PLUMBING | 2'' GI CLASS B STARTER PIPE | PCS | 3
| 46 |  | 6'' BOREHOLE COVER C/W SUNDRIES | PCS | 3
| 47 |  | 2'' GI CLASS B RISER PIPE-6M | PCS | 126
| 48 |  | 2'' WATER METER | PCS | 3
| 49 |  | 2" GI Class B CRANE Sockets | PCs | 123
| 50 |  | COOLING SLEEVE | PCS | 3
| 51 |  | AIRLINE PIPES-6M | PCS | 126
| 52 | BOREHOLE WORKS | MOBILIZATION OF THE RIG AND CREW | SUM | 3
| 53 |  | LIFTING OF THE PUMP FROM THE BOREHOLE | SUM | 3
| 54 |  | LOWERING OF THE PUMP INTO THE BOREHOLE | SUM | 3
| 55 |  | DEMOBILIZING THE RIG AND CREW | SUM | 3
| 56 | SOLAR WORKS | MOBILIZATION OF THE SOLAR WORKS CREW AND SITE PREPARATION WORKS | SUM | 3
| 57 |  | MOUNTING STRUCTURE WORKS, MOUNTING SOLAR PANELS ON STRUCTURE & FASTENING | SUM | 3
| 58 |  | ELECTRICAL WIRING | SUM | 3
| 59 |  | TESTING AND COMMISSIONING | SUM | 3
| 60 |  | DEMOBILZATION OF THE SOLAR CREW | SUM | 3
| 61 |  | INCLUDE ANY OTHER ACCESSORIES THAT REQUIRED FOR COMPLETION OF WORKS | SUM | 3
| 62 | FENCE WORKS & BOARD | DISPLAY BOARD | SUM | 3
| 63 |  | FENCE WORKS | PCS | 3
| 64 | TRANSPORT SCOPE | TRANSPORT SCOPE | SUM | 3
| 65 | OPERATION & MAINTENANCE SCOPE | ANNUAL RATE (Optional) | SUM | 1
| Grand Total |  |  |  |  | 0
| Delivery time in days: |  |  | stamp:
Bid validity in weeks:
Company name of bidder:
Date:
Signature of bidder