## LOT 3 A
PRICE SHEET
| No | Description of Goods / Services (add attachment for technical specification if very detailed) | Unit | Quantity required | Unit Price | Amount
CONSTRUCTION OF WATER STORAGE Berket.
| 1 | Mobilization of all materials, personnel and equipment's as well as safety for personnel to the site as well as site clearance and remove surplus soil from the surroundings. | m2 | 12.25
| 2 | Excavate and trench 50cmx40cm for the foundation wall. | M3 | 2.8
| 3 | Excavate for columns supporting the slab (1m deepx1.2mx1.2m) | M3 | 5.8
| 4 | RC Column Footings (0.5mx0.5mx0.5m)- Providing and laying of cement concrete mix ratio (1:2:4) including formwork, Provide Y 12mm steel reinforcments double mesh in footings with 10cm c/c spacing and 6 No Y14mm column starter bars with y6mm links at 20cm c/c at the starter bars as directed by an Engineer. | M3 | 2.9
| 5 | Square Columns- Providing and laying of 30cm x 40 cm x 3.5m high cement concrete columns with mix ratio (1:2:4) including formwork, Provide 6 nos of bars of Y 14mm steel reinforcments with y8mm links at 20cm c/c. Provide 4 columns spaced at a maximum of 2.7m C/C as directed by an Engineer. | M3 | 1.68
| 6 | Construction of R.C. top ring beam (40 x 40) cm 1:2:3 ratio with 6 nos 12mm ray-bars and 20cm c/c staffs. | M3 | 1.824
| 7 | Construction of (3.5mx3.5mx0.2m thick) R.CC slab- concrete mix ratio (1:2:3) with 20mm thick maximum aggregate size including formwork. Provide Y12mm steel @200mmc/c both ways. | M3 | 4.9
| 8 | Construct an approved masonry wall with dimensions of 40 cm wide and 300 cm hieght using regular-sized masonry units | M3 | 9.52
| 9 | Construct a 400mm x 200mm Roof beam with reinforced concrete (1:2:4 mix ratio), with maximum aggregate size of 20mm. Place 2D14 reinforcement bars on both sides with 25mm concrete cover | M3 | 1.12
| 10 | Supply and fix new prepainted 30 Gauge G.I. sheets on 2”x2” timber purlins on a inclined roof. Overlap sheets by 200mm and use only roofing nails, ensuring to strike the nails on the raised ribs to prevent leakage. Secure the purlins on D6mm steel brackets embedded in the top ring beams for stability.fix 200mmx20mm fascia board with enamel paint | M2 | 14.44
| 11 | Provide and fix facia board 20cm | M | 14
| 12 | Plastering columns and beams with 1:3 c/s mortar as approved by an Engineer. | M2 | 84
| 13 | Whitewash external and internal walls. 2 coats as approved by an Engineer. | M2 | 84
| 14 | Provide and install 1.5 in Diameter pipe, ‘U’ shaped to form steps with ends embedded into retaining wall, average length 7m | L.S | 1
| 15 | Water Supply System including 50mm diameter inlet pipe 800mm long,50mm diameter draw off pipe Ditto,50mm diameter overflow pipe Ditto,20mm diameter brass gate valve with wheel and head | L.S | 1
| SUB-TOTAL FOR CONSTRUCTION OF ONE WATER STORAGE |  |  |  |  | 0
| TOTAL FOR CONSTRUCTION OF 6 WATER STORAGE |  |  |  |  | 0
| Grand Total |  |  |  | 0
| Delivery time in days: |  |  | stamp:
Bid validity in weeks:
Company name of bidder:
Date:
Signature of bidder

## LOT 3 B
PRICE SHEET
| No | Description of Goods / Services (add attachment for technical specification if very detailed) | Unit | Quantity required | Unit Price | Amount
Construction of Galdogob Livelihood Skills Development Center: 3 Classrooms, Administrative Office, and Sanitation Facility (Each Room 8x6 M)
| 1 | Set-out and mark the building as per client approval, and clear the site fro debris, shrubs and loose top organic soil, and dispose away collected material | SM | 257.4
| 2 | Excavate for foundation plinth wall trenches 400mm wide not exceeding 400mm depth from stripped level | CM | 21.6
| 3 | Reuse excavated materials for backfilling first layer under ground slab, to be leveled, watered & compacted | CM | 180.2
| 4 | Extra imported approved bakcfilling material under ground slab, leveled, watered & compacted in layers | CM | 38.6
Foundation Plinth Walls
| 5 | Rubble stone masonry bedded and jointed in cement and sand (1:3) mortar, in:- 600mm thick rubble stone foundation wall | CM | 32.1
RCC Concrete Works
| 6 | Bottom beam (130m x 0.4m x 0.2m) with 10mm diameter rebars and 8mm link | M3 | 8.6
| 7 | Mid beam (126.5m x 0.2m x 0.2m) with 10mm diameter rebars and 8mm link | M3 | 4.3
| 8 | Top beam (130m x 0.2m x 0.2m) with 10mm diameter rebars and 8mm link | M3 | 4.3
| 9 | Columns 24(3.5m x 0.2m x 0.2m) with 10mm diameter rebars and 8mm link | M3 | 2.8
| 10 | Ground floor slab 100mm thick, includes veranda wth 8mm diameter mesh | M3 | 25.7
| 11 | Entrance Steps with non-skid finish, embeded in ground | M3 | 32.6
| 12 | Ramp 1.8 long 2m wide with non-skid finish | M3 | 4.8
| Section-A Subtotal Carried to Summary |  |  |  |  | 0
Walling
| 13 | Concrete hollow block units with min. strength 7MPa bedded & jointed in cement-sand (1:3) mortar, in: -
| 13.1 | 200mm thick ground floor walls up to roof beam | SM | 378
| 13.2 | 200mm thick gable side walls above roof beam | SM | 18
| Section-A Subtotal Carried to Summary |  |  |  |  | 0
Roofing
| 14 | Construction of metal gable roof on wooden truss with 21 ° pitch with 400mm overhangs all around, using pre-painted GI gauge 28 roofing sheets, capped GI fasteners, 50x50mm sawn wood purlins and truss webs, 50x75mm sawn wood king post, top chord and truss webs, double 25x150mm sawn wood bottom chord, 25x100mm painted hard wood fascia board, ridge cap, finishing truss-wall joints & eaves, and all associated works:
| 14.1 | Roof plan area | SM | 277
| Section-B Subtotal Carried to Summary |  |  |  |  | 0
DOORS, WINDOWS & FINISHES
| 15 | Doors
| 15.1 | D1 (1200x2100mm) sinle-leaf steel door made of mild steel frames & panel sheet complete with hinges, handles, lock, weld joints finishing & 2 coats glossy paint | No | 3
| 15.2 | D2 (900x2100mm) sinle-leaf steel door made of mild steel frames & panel sheet complete with hinges, handles, lock, weld joints finishing & 2 coats glossy paint | No | 1
| 16 | Windows
| 16.1 | W1 (500mmx2500mm) double-leaf steel window, each leaf foldable to wall, made of mild steel frames & panel sheet complete with hinges, handles, lock, weld joints finishing & 2 coats glossy paint | No | 27
|  | Section- Subtotal Carried to Summary |  |  |  | 0
1 | 17 | Floor Finishes
| 17.1 | Apply tiling (400mm*400mm)) with cement and sand, non-slippery classrooms & veranda floors | SM | 227
| 17.2 | Apply wall skirting tiles 150mm hight with cement and sand, classrooms & veranda floors | SM | 34.1
| 17.3 | Place cast in paving slabs 600x600x50mm thick on compacted soil around building as plinth protection | SM | 78
|  | Section- Subtotal Carried to Summary |  |  |  | 0
| 18 | Wall Finishes
Apply two coats of cement-sand 15mm thick plaster, steel trowelled smooth finish, to: -
| 18.1 | Exterior and internal perimeter plinth wall upto foundation level | 813 | SM
| 18.2 | Ground floor interior/exterior walls, beams & columns | 137 | SM
Apply wall putty and two coats of emulsion paint, to:-
|  | Exterior perimeter plinth wall upto ground floor level | SM | 813
|  | Ground floor interior/exterior walls, beams & columns | SM | 137
| Section- Subtotal Carried to Summary |  |  |  |  | 0
| 19 | Ceiling Finishes
| 19.1 | 6mm thick laminated plywood ceiling fixed on wooden truss with brandering frame complete with joint finishing | SM | 277
| Section- Subtotal Carried to Summary |  |  |  |  | 0
| 19 | Permanent Fixtures
| 19.1 | Provide Wooden blackboard 3m wide 1.2m high starting at 800mm above floor, firmly attached to block wall, with edge trims, chalk bottom tray & black paint finish | No | 3
| 20 | Electrical Fixtures
| 20.1 | Supply & fix ceiling mounted LED lights with switches | No | 35
| 20.2 | Supply & fix twin wall sockets 13A | No | 25
| 20.3 | Supply & fix small panel board for main circuit breaker | No | 1
| 20.4 | Provision for concealed wiring & electrical connection | No | 30
| 20.5 | Visibilty of donor and MoECHE logs on visible side of the classroom | No | 1
| Section- Subtotal Carried to Summary |  |  |  |  | 0
| 21 | SANITARY WORK
| 21.1 | provide 90cm high Ceramic hand wash, foucets are fixed and connected to the water supply, and 50mm diametre PVC drainage pipe is connected directly to the pit | No | 2.2
| 21.2 | Install and fix squat toilet to the appropriate way | No | 2
| 22.3 | Pit excavation on hard soil to an average depth of 2.5m below NGL | No | 13.5
| Section- Subtotal Carried to Summary |  |  |  |  | 0
| TOTAL COST OF Work Summary |  |  |  |  | 0
| Delivery time in days: |  |  | stamp:
Bid validity in weeks:
Company name of bidder:
Date:
Signature of bidder

## LOT 3 C
PRICE SHEET
| No | Description of Goods / Services (add attachment for technical specification if very detailed) | Unit | Quantity required | Unit Price | Amount
Farms fencing (50x50M or One hectare) 30 M x 1.8M
| 4.1 | Galvanised Wire Mesh 1.8m X 30m | Rolls | 7
| 4.2 | Steel Column Post (40 X 40 X 6m Mild Steel L Shaped Angle, For Construction) | Num | 42
| 4.3 | Concertina, Razor Wire 200m (Stainless Steel) | Rolls | 4
| 4.4 | Roll - Tying Wire Black Annealed 1.45mm Thick | Roll | 1
| 4.5 | Casting concrete into the holes of steel column posts (100 holes, each 0.3m deep, 0.1m x 0.1m in size)Unit: M³ Quantity: 0.3 m³) | Cum | 0.3
| 4.6 | Installation cost (Labor cost per Miter ) | lump | 1
| Total Material const |  |  |  |  | 0
| TOTAL COST OF 18 FARMS |  |  |  |  | 0
Transportation of the materials
| Grand -total |  |  |  |  | 0
Delivery time in days:
Bid validity in weeks:
Company name of bidder:
Date:
Signature of bidder

## LOT 3 D
PRICE SHEET
| No | Description of Work/Materials | Unit | Quantity required | Unit Price | Amount
Chichen house construction details:-
| 1 | Timber Posts (treated, 2.5m long, 0.5m buried) | pcs | 8
| 2 | Timber for frame (wall, truss, floor support) | m³ | 0.12
| 3 | Plywood (wall and floor panels) | sheets | 4
| 4 | CGI Sheets (galvanized, 2.5m length) | pcs | 2
| 5 | Wire Mesh (ventilation openings) | m² | 1.5
| 6 | Wooden Doors (with hinges, latch, frame) | pcs | 2
| 7 | Nails, screws, fasteners | kg | 1
| 8 | Local labor (shared or community-supported) | lump | 1
|  | Sub-total |  |  |  | 0
|  | Total budget for Chicken house construction |  | 50 |  | 0
| Grand -total |  |  |  |  | 0
Delivery time in days:
Bid validity in weeks:
Company name of bidder:
Date:
Signature of bidder